## FAC Material Database and Track
Date Captured | Item | Item Description | Unit | Quantity Procured | Quantity Balance in Store | MAT | TLH | MAS | SHG | LEB | RIB | KET | SEH | TOS | SEB | MAK | BOB | MET | NKU | TLH CLINIC | HQ
| Cut 70mm Bare Copper Earth Wire | 70mm | metres | 80 | 0 | SEH: 80
| MC4 Inline PV Connector Female | Female Connector | pcs | 180 | 0 | KET: 180
| MC4 Inline PV Connector Male | Male Connector | pcs | 180 | 0 | KET: 180
| Lug Crimp 70mm x 10mm | 70mm x 10mm | pcs | 276 | 276
| Lug Crimp 70mm x 16mm | 70mm x 16mm | pcs | 96 | 96
| Cylindrical Fuse 10 x 38mm 20A | 10 x 38mm 20A | pcs | 12 | 12
| Gland Hellermann No BWR4 | No BWR4 | pcs | 30 | 27 | SEH: 3
| Shroud Hellermann No SHP4 | No SHP4 | pcs | 18 | 18
| M25 Compression Gland Nylon No2 | No2 PMGB25-18 Grey | pcs |  | 0
| M32 Compression Gland Nylon No3 | No3 PMGB32-25 Grey | pcs | 6 | 6
| M40 Compression Gland Nylon No4 | No4 PMGB40-32 Grey | pcs | 30 | 30
| Tracker Dampers | Tracker Dampers | pcs | 40 | 24 | TLH: 4; KET: 4; SEH: 4; MAK: 4
2024-01-04 | Steel Power Skirting | 90mm x 55mm x 3m | pcs | 50 | 50
2024-01-04 | End Caps | End Caps | pcs | 6 | 6
2024-01-04 | PVC Male Adaptor | 50mm | pcs | 6 | 5 | bar: SEH
2024-01-04 | PVC Conduit | 25mm | pcs | 3 | 3
2024-01-04 | PVC Couplings | 25mm | pcs | 22 | 22
2024-01-04 | Lug Crimp 16mm x 8mm | 16mm x 8mm | pcs | 10 | 10
2024-01-04 | Lug Crimp 25mm x 8mm | 25mm x 8mm | pcs | 10 | 10
2024-01-04 | Lug Crimp 35mm x 8mm | 35mm x 8mm | pcs | 10 | 0 | SEH: 10
2024-01-04 | Ferrule Crimp 2.5mm | 2.5mm | pcs | 20 | 20
2024-01-04 | Ferrule Crimp 4mm | 4mm | pcs | 12 | 12
2024-01-04 | Ferrule Crimp 1.5mm | 1.5mm | pcs | 20 | 20
2024-01-04 | Plug Top | 16A Rubber Black | pcs | 12 | 12
2024-01-04 | Gland Hellermann No BWR4 | No BWR4 | pcs | 2 | 2
2024-01-04 | Shroud Hellermann No SHP4 | No SHP4 | pcs | 2 | 2
2024-01-04 | Gland PVC No 0 | Black (Blue Rubber) | pcs | 24 | 24
2024-01-04 | Earth Spikes Econo | M12 x 1.2m | pcs | 4 | 4
2024-01-04 | Pop Rivet Washer | 4.8mm | pcs | 400 | 400
2024-01-04 | Cut Surfix (Wire) black | 4.0mm x 2core | metres | 20 | 10 | SEH: 10
2024-01-23 | Scandilux HVAC | Indoor Unit SC 09 E-Pro | pcs | 10 | 9 | [15 empty] | 1
2024-01-23 | Scandilux HVAC | Outdoor Unit SC 09 E-Pro | pcs | 9 | 8 | [15 empty] | 1
2025-10-14 | PVC Conduit | 20mm | pcs | 50 | 0 | LEB: 25; RIB: 25
2025-10-14 | Earth Rod clamps | Earth rod clamps | pcs | 7 | 0 | LEB: 7
2025-10-14 | Earth spikes rod | Earth spikes rod 1.5m | pcs | 7 | 0 | LEB: 7
2025-10-14 | M12 Washer | M12 x 24 x 3 | pcs | 322 | 222 | LEB: 100
2025-10-14 | M6 x 25 Flange Screw | M6 x 25 Flange Bolt | pcs | 560 | 560
2025-10-14 | M16 x 300 Hex Bolt | M16 x 300 Hex Bolt | pcs | 56 | 56
2025-10-14 | M6 x 20mm Hex Bolt | M6 x 20mm Hex Bolt | pcs | 399 | 399
2025-10-14 | M8 x 20mm Flange Bolt | M8 x 20mm Flange Bolt | pcs | 560 | 560
2025-10-14 | M10 x 40mm Hex Bolt | M10 x 40mm Hex Bolt | pcs | 28 | 28
2025-10-14 | M12 x 40mm Flange Bolt | M12 x 40mm Flange Bolt | pcs | 322 | 322
2025-10-14 | M16 x 50mm Flange Bolt | M16 x 50mm Flange Bolt | pcs | 994 | 994
2025-10-14 | M20 x 80 Hex Bolt | M20 x 80 Hex Bolt | pcs | 28 | 28
2025-10-14 | M4 x 25 Bolt | M4 x 25 Bolt | pcs | 14 | 14
2025-10-14 | M6 Flange nuts | M6 Flange nuts | pcs | 1036 | 1036
2025-10-14 | M8 Flange nuts | M8 Flange nuts | pcs | 560 | 560
2025-10-14 | M10 Flange nuts | M10 Flange nuts | pcs | 70 | 70
2025-10-14 | M12 Flange nuts | M12 Flange nuts | pcs | 686 | 686
2025-10-14 | M16 Flange nuts | M16 Flange nuts | pcs | 1001 | 1001
2025-10-14 | M4 Nyloc nut | M4 Nyloc nut | pcs | 14 | 14
2025-10-14 | M16 Nyloc nut | M16 Nyloc nut | pcs | 56 | 56
2025-10-14 | M16 Hex nut | M16 Hex nut | pcs | 112 | 112
2025-10-14 | M20 Hex nut | M20 Hex nut | pcs | 28 | 28
2025-10-14 | M6 washer fender | M6 x 25 x 1.6 | pcs | 560 | 560
2025-10-14 | M8 washer fender | M8 x 25 x 2.0 | pcs | 560 | 560
2025-10-14 | M4 washer fender | M4 x 9 x 0.7 | pcs | 14 | 14
2025-10-14 | M6 washer fender | M6 x 12.5 x 1.6 | pcs | 112 | 112
2025-10-14 | M16 Washer | M16 x 30 x 3 | pcs | 944 | 944
2025-10-14 | M20 Washer | M20 x 37 x 40 | pcs | 84 | 84
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0

## Form Responses 1
Timestamp | Email Address | Full Names of Requester | Items Requested | Concession/Site | Estimated Time of Dispatch to Site | Name of Assigned Receiver on Site | Email of Assigned Receiver on Site | Notes | Updated database
2023-11-09 16:36 | matete@1pwrafrica.com | MATETE NKHETHOA | static slew-drive (1) dumper mount upper side joiner plates (1set) 2m Earth Spikes from RET stock (12) | KET | 2023-11-10 | Neo Makosholo | neo@1pwrafrica.com
2023-11-09 16:49 | matete@1pwrafrica.com | MATETE NKHETHOA | static slew drive (1) cable tray hanger (1) power-house floor PV-cable input plate (1) roof truss divider (1set) E-stop holder (1) | SEH | 2023-11-10 | Mandla | mandla@1pwrafrica.com
2024-02-14 08:43 | serobanyane@1pwrafrica.com | Neo Serobanyane | Dampers (4) | MAS | 2024-02-14 | Neo Serobanyane | serobanyane@1pwrafrica.com | all requested items given
2024-04-10 08:53 | komete@1pwrafrica.com | Mokhethi Komete | Pvc conduits 25 mm ×2 P c conduits 20 mm ×5 Earth spikes 2.5 m ×5 | TLH | 2024-04-10 | Mokhethi Komete | komete@1pwrafrica.com | all requested items given
2024-05-29 16:10 | maks@1pwrafrica.com | Makoanyane Khakanyo | 3m Connie's (4), 3m skirting (4), 2m round bar (1), 20mm settles (20), carpet (off cut as discussed with Malikelle,air spike (1) pg7 glands No. 00 from procurement (24), white rubberized paint (1), hydro membrane (1), 500ml filler foam (1), AAA Batteries (4), usb Cables (3), usb adapters (3), 70m air dec(1), NCU anemometer(1) | KET | 2024-05-30 | Makoanyane | maks@1pwrafrica.com
2024-08-05 14:50 | maks@1pwrafrica.com | Makoanyane Khakanyo | 1. Gutter joiners x 12. 2. Foam spray x 10. 3. Bathroom door lock handles x 2. 4. Main door lock x 1. 5. Jack hammer brushes x 1 & (1 spare brushes). 6. Plumbing conduits. | MAS | 2024-08-08 | Makoanyane | maks@1pwrafrica.com
2024-09-13 10:25 | maks@1pwrafrica.com | Makoanyane Khakanyo | PVC conduits (20mm x 25, 25mm x5), wall box (4 x 2) x 1, LED lights x 4, orange toolbox ( with miscellaneous screws and bolts) | TOS | 2024-09-16 | Neo Makoasholo | neo@1pwrafrica.com
2024-10-25 12:53 | serobanyane@1pwrafrica.com | Neo Serobanyane | trusses (10), pile base clamps (20), cross member clamps (10), M10x50mm bolt and nut (18), M10x100mm bolt and nut (2) | MAT | 2024-10-25 | Neo Serobanyane | serobanyane@1pwrafrica.com
2024-12-09 13:58 | serobanyane@1pwrafrica.com | Neo Serobanyane | cable tray (1) | MAS | 2024-12-09 | Neo Serobanyane | serobanyane@1pwrafrica.com
2025-02-08 07:41 | ralekaota@1pwrafrica.com | Lebohang Ralekaota | Ready boards(15),u-nails(2 packets),steel nails(1 packet),saddles(1packet) and 1 step down transformer | MAT | 2025-02-06 | Lebohang | ralekaota@1pwrafrica.com
2025-02-18 17:05 | ralekaota@1pwrafrica.com | Lebohang Ralekaota | Surge arrestors 12kv,70mm bare earth wire×30m,ready boards×15,1packet saddles,1packet steel nails,1 packet u nails | MAT | 2025-02-05 | Lebohang Ralekaota | ralekaota@1pwrafrica.com
2025-06-12 08:15 | makhoalinyane@1pwrafrica.com | Teboho Makhoalinyane | 2 SYL batteries | MAS | 2025-06-12 | Taole Letsetsa | letseka@1pwrafrica.com
2025-06-18 09:21 | teboho@1pwrafrica.com | Neo | earth spike 1.5M, PVC conduit 25MM (2 Full lengths), Bare copper wire 25MM * 50M | MAT | 2025-06-18 | Neo | neo@1pwrafrica.com | All items given
2025-07-11 15:42 | neo@1pwrafrica.com | Neo Makosholo | 20mm PVC conduit bundle (25 pipes) Bare Copper Earth Wire 25mm x 100m Stay Wire LV x100m | MAT | 2025-07-07 | Neo Makosholo | neo@1pwrafrica.com | All items given
2025-08-12 16:18 | neo@1pwafrica.com | Neo Makosholo | 6mm insulated earth wire (green/yellow) x 100m cable ties 4.8mmx300mm x400 MC4 connectors and adapters male and female x 16 each | MAS | 2025-08-12 | Neo Makosholo | neo@1pwrafrica.com | All items given
2025-09-29 08:21 | makhoalinyane@1pwrafrica.com | Teboho Makhoalinyane | U bolts*6 and struts set x6 | SEH | 2025-09-29 | Teboho Makhoalinyane | makhoalinyane@1pwrafrica.com | All items given
2025-09-29 08:23 | makhoalinyane@1pwrafrica.com | Teboho Makhoalinyane | Weather station screen | SEH | 2025-09-29 | Teboho Makhoalinyane | makhoalinyane@1pwrafrica.com | All items given
2025-10-10 09:31 | makhoalinyane@1pwrafrica.com | Teboho Makhoalinyane | 2*outdoor Cam | MAT | 2025-10-10 | Katleho Thakholi | thakholi@1pwrafrica.com | All items given
2025-10-13 12:27 | neo@1pwrafrica.com | Neo Makosholo | pv wires black and red 100m, (2.5mm brown, 2.5mm blue, 2.5mm green/yellow house wire) all 100m, M12 washers x100, earth rod 1.5m x7, lightining protection rod x1, earth rod clamps x7, 20mm pvc conduit x25 | LEB | 2025-10-13 | Neo Makosholo | neo@1pwrafrica.com | All items given
2025-10-15 14:33 | teboho@1pwrafrica.com | Teboho Noko | 2 Batterries (12V 200AH / 10HR) - SX12-200D for LEB Utilities Module | LEB | 2025-10-15 | Sula | sula@1pwrafrica.com | Given but they being to OnM
2026-02-23 15:35 | sula@1pwrafrica.com | Keketso Sula | heat shrink tube 10mm, 70mm kapa all of them ccg glands no4 x 4 ccg glands no5 x 2 50mm insulated earth cable g/y x32m double socket outlet x1 airdac 80m riverts 4.8mmx12mm x100 (1packet Tapeite 9m Nylon glands 40mm x 6 | LEB | 2026-02-23 | Neo Makosholo | Neo@1pwrafrica.com